Staged Rollout Report
The Early Adopter team should fill the “grey” areas
NGI	NGI-UK
Site Name	UKI-LT2-Brunel
EA team names	Raul H C Lopes
EA team contacts	Raul H C Lopes
Product	DPM Xrootd	Version	3.5.2	RT ticket ID	RT #8692

The “outcome” is one of: OK, WARN, FAIL, NA (Not Aplicable), Nver (Not verified/Not tested).
Copy/paste any results from your commands where you see fit.
Metric	<OK|WARN|FAIL / |NA|NVer>	WEB URLs, Command used, other comments / (please always fill this table with as much information as possible, and as you see fit)
Release notes and other / documentation	OK	Yum update. Update includes / dpm-xrootd-3.5.2-1.el6.x86_64 / xrootd-4.1.1-1.el6.x86_64
Installation or upgrading (specify which)	OK	upgrade
(RE-)configuration (if using yaim, specify command used)	OK	Yaim plus David Smith instructions for upgrading to DPM 1.8.9
Functionality (including start stop of deamons, and which)	OK	Yum update, followed by yaim, followed David Smith's “tricks”.
SAM/Nagios/Gstat or any other monitoring framework / (specify the name of the machine)	OK	In production since 23 March. Not one single NAGIOS test or storage access by prooduction jobs and transfers failed. / Head node: dc2-grid-64.brunel.ac.uk
Interaction integration with other components (specify which)	OK	Production unit
Behaviour in production environment (after a few days). Specify VO’s using the service when applicable	OK	WLCG VOs
GGUS tickets opened: please insert the URLs of the tickets		https://ggus.eu/index.php?mode=ticket_info&ticket_id=112272
Log files: usefulness, clarity, etc., any other comments on where/how to improve them.	OK	Dmlite logs can be very confusing if used yaim-configured mode. David Smith's instructions alert about that and advise to reduce verbosity
Error messages: please specify or comment any issues with error messages, if they are not correct, not clear, useful, etc. .	Warning	In the last three weeks twice I noticed in three servers a situation where the load average (obtained, for example, with 'uptime') reached 4000 in 12 cores disk servers. This lead to xroot becoming extremely slow at first and it finally died. In one the situations, it seemed related to a DNS issue as the two name servers serving the were at least sluggish. However, I never managed to replicate the condition. / In both occasions, I had to restart services (xrrod, rfiod, dpm-gsiftp) several times before getting stable services again.